## RiskWorkSheet
Risk Assessment Form | [5 empty] | Severity | Probablity | Exposure |  |  |  | Values | Risk Level | Action
Group Name: | Group 9 - CrawlTrainer |  |  | Members: |  | Catastrophic - 5 | Probable - 5 | Great - 4 |  | Need mitigation |  | 80-100 | Very High | Discontinue/STOP
|  |  |  | Katherine Lauer |  | Major - 4 | > 50% - 4 | Above Avg - 3 |  | Acceptable, but could be better |  | 60-79 | High | Immediate Correction
|  |  |  | Lauren Pickman |  | Serious - 3 | 50% - 3 | Average - 2 |  | Acceptable |  | 40-59 | Substantial | Correction Required
|  |  |  | Tomisin Akinyemi |  | Minimal - 2 | Unlikely - 2 | Low or None - 1 |  |  |  | 20-39 | Possible | Attention Needed
[6 empty] | Slight - 1 | Remote - 1 |  |  |  |  | 2019-01-19 | Slight | Possibly Acceptible
Use Risk caclulation sheet to calculate risk.
Item | User | Task | Hazard Category | Hazard | Cause/Failure Mode | Severity | Probability | Exposure | Risk Level | Method of Risk Reduction/Mitigation | Severity | Probability | Exposure | Risk Level | Person Responsible | Date | Comments
1 | Patient | crawl training |  | crushing | The patient's extremities could be crushed under the wheels if used without adult supervision. | 4 | 2 | 3 | 24 | The user manual given to the family and physical therapist will specify no unsupervised use. |  |  |  | Possible | Katherine Lauer | 2020-04-16
2 | Patient | crawl training |  | pinch point | The patient's extremities could be pinched by the joints in the device if used without adult supervision. | 3 | 2 | 3 | 18 | The user manual given to the family and physical therapist will specify no unsupervised use. |  |  |  | Slight | Katherine Lauer | 2020-04-16
3 | All Users | set up |  | pinch point | The user could be pinched by the joints in the device when setting it up. | 3 | 2 | 1 | 6 | The user manuel will provide caution statements. |  |  |  | Slight | Katherine Lauer | 2020-04-16
4 | All Users | lifting the device |  | excessive weight | The device could be too heavy causing injury when lifting. | 3 | 2 | 1 | 6 | The user manuel will give specific weight measurements and advise caution when lifting. |  |  |  | Slight | Katherine Lauer | 2020-04-16
5 | Patient | crawl training |  | improper posture/back injury | If the patient is placed in the device improperly they could exhibit improper posture resulting in injury. | 3 | 3 | 3 | 27 | The user manual will provide diagrams and descriptions regarding proper use. |  |  |  | Possible | Katherine Lauer | 2020-04-16
6 | All Users | walking near device |  | trip | Users could trip over the device. | 2 | 2 | 1 | 4 | The user manual will provide guidance for device storage when not in use. |  |  |  | Slight | Katherine Lauer | 2020-04-16
7 | All Users | moving the device |  | breaking parts/crushing | Improper movement of the device could cause it to tip over leading to breaking or crushing the extremities of nearby users. | 4 | 2 | 3 | 24 | The user manual will provide statements regarding improper movement of the device. |  |  |  | Possible | Katherine Lauer | 2020-04-16
8 | Patient | crawl training |  | exertion | Using the device for too long could cause exertion of the patient. | 3 | 3 | 2 | 18 | The user manual will state advisable length of use. |  |  |  | Slight | Katherine Lauer | 2020-04-16
9 | Patient | crawl training |  | instability/ falling | Unsupervised use of device can cause instability and create a fall risk in the patient. | 3 | 2 | 3 | 18 | The user manual given to the family and physical therapist will specify no unsupervised use. |  |  |  | Slight | Katherine Lauer | 2020-04-16

## Lists
Severity | Exposure | Probability | Risk | Users | Hazard Category | Hazard
Catastrophic | Frequent | Probable | High | All Users | Biological/Health
Serious | Occasional | Possible | Medium | Doctor | Mechanical
Slight | Remote | Unlikely | Low | Nurse | Electrical
Minimal | None | Negligible |  | Technician | Slip/Trip/Fall
|  |  |  | Fabricator | Eronomic/Human Factors
|  |  |  | Housekeeping | Fire/Explosion
|  |  |  | Paramedic | Heat/Temperature
|  |  |  | Nurse Aide | Noise/Vibration
|  |  |  | Service Technician | Ingress/Egress
|  |  |  | Patient | Material Handling
|  |  |  | Family | Environmental/Industrial Hygene
|  |  |  | Public | Ventilation/Confined Space
Chemicals/Gases
Fluid Pressure
Radiation
Laser
Wastes